|  | Ministry of Forests and Range | Inspection Form - Compliance with Camp Standards |
| --- | --- | --- |

Contract No.:			Contractor Name:

Location:			Contract Rep/Foreman:

Ministry Rep:			Date of Inspection:

Inspected by:			Number of Persons in Camp:

Date Camp Established:			Number of Cook(s) in Camp:

| Section |  | Standards Compliance with Schedule D | Comply? Yes No |  | Remarks |
| --- | --- | --- | --- | --- | --- |
| 3.01 |  | Accommodation Requirements |  |  |  |
|  |  | Exemptions, which clauses? |  |  |  |
| 5.01 |  | Location of camps provided to Health Authority |  |  |  |
|  |  | Supervision |  |  |  |
| 5.02 | (b) | copy of standards posted |  |  |  |
|  | (c) | camp clean and sanitary |  |  |  |
|  | (d) | information to employees / method of notification |  |  |  |
|  | (e) | domestic animals controlled |  |  |  |
|  |  | Water Supply |  |  |  |
| 5.03 |  | approved by Health Authority, operating permit issued? |  |  |  |
| 5.04 |  | water samples provided to Health Authority |  |  |  |
| 5.05 |  | adequate potable water - camp |  |  |  |
|  |  | adequate potable water - worksite |  |  |  |
| 5.06 |  | water source o.k. |  |  |  |
| 5.07 |  | containers for water not used for other purposes |  |  |  |
|  |  | containers securely closed and tapped |  |  |  |
| 5.08 |  | containers clean and uncontaminated |  |  |  |
| 5.09 |  | unfit water - no connections, warning signs |  |  |  |
|  |  | Campsite |  |  |  |
| 5.10 |  | good drainage |  |  |  |
| 5.11 |  | drainage not contaminating water |  |  |  |
| 5.12 |  | approved location |  |  |  |
|  |  | Communicable Diseases |  |  |  |
| 5.13 |  | illnesses reported |  |  |  |
|  |  | Kitchen and Meals |  |  |  |
| 5.14 |  | operating permit issued? |  |  |  |

Camp Standards Inspection Form (cont’d)	Contract No:

| 5.15 | (a) | kitchen separate and cleanable |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | (b) | meals of sufficient quantity and quality |  |  |  |
|  | (c) | hand wash basins, soap, disposable towels |  |  |  |
|  | (d) | utensils cleaned, sanitized, & personal water bottles cleaned daily |  |  |  |
|  | (e) | non-absorbent surfaces clean/sanitized |  |  |  |
|  | (f) | 3 sink method / air dry |  |  |  |
|  |  | Dining Room |  |  |  |
| 5.16 |  | dining room size, separate from kitchen, clean |  |  |  |
| 5.17 |  | dining room dry, heated, insect/ vermin controlled |  |  |  |
|  |  | Food Handlers |  |  |  |
| 5.18 | (a) | food handlers' health |  |  |  |
|  | (b) | neat and clean in appearance |  |  |  |
|  | (c) | valid FOODSAFE certificate(s) (names & numbers) |  |  |  |
|  |  | Food |  |  |  |
| 5.19 | (a) | food from commercial source & protected from contamination |  |  |  |
|  | (b) | ice of drinking water quality |  |  |  |
|  | (c) | hazardous food < 4.0 C or > 60c /, logged daily |  |  |  |
|  | (d) | adequate space, thermometer in refrigeration units |  |  |  |
|  | (e) | supplies off floor, protected from contaminants |  |  |  |
|  |  | Food Equipment |  |  |  |
| 5.20 |  | container clean, washable, tight closed |  |  |  |
| 5.21 |  | food equipment: good condition, no cracks, corrosion |  |  |  |
| 5.22 |  | kitchenware, utensils in cupboards or off floor |  |  |  |
|  |  | Food Safety Management Plan |  |  |  |
| 5.23 |  | approved food safety plan in place |  |  |  |
|  |  | approved sanitation plan in place |  |  |  |
|  |  | Sanitary Facilities |  |  |  |
| 5.24 |  | hot water showers and dressing areas, floors and walls |  |  |  |
| 5.25 |  | no flush toilets |  |  |  |
| 5.26 |  | privies - conveniently located |  |  |  |
|  | (a) | pests deterred |  |  |  |
|  | (b) | no surface/ground water in pit |  |  |  |
|  | (c) | no waste to water supply |  |  |  |
|  | (d) | vented |  |  |  |
|  | (e) | 30 m from water & 10m from food service areas |  |  |  |
|  | (f) | private |  |  |  |
| 5.27 |  | water adequate to wash basin |  |  |  |
| 5.28 |  | privies / showers / wash basins (see table below) |  |  |  |
| 5.29 |  | privy pits filled and covered, marked |  |  |  |
| 5.30 |  | facilities clean and sanitary |  |  |  |

Camp Standards Inspection Form (cont’d)	Contract No:

|  |  | Garbage and Sewage |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5.31 |  | approved by Health Authority; permit issued? |  |  |  |
| 5.32 |  | infiltration pits, 30m from water, covered, no overflow |  |  |  |
|  | (a) | kitchen sewage/waste disposed in infiltration pit, closed system |  |  |  |
|  | (b) | bathing sewage/waste disposed in infiltration pit, closed system |  |  |  |
| 5.33 |  | garbage stored in wildlife / insect proof containers |  |  |  |
| 5.34 |  | disposal every 3 days (daily if bear problems) |  |  |  |
|  |  | Dryroom |  |  |  |
| 5.35 |  | Separate, heated dry room |  |  |  |
| General – Planter’s Comments: |  |  |  |  |  |
| Discussion / Actions: |  |  |  |  |  |

| SANITARY FACILTIIES TABLE – Schedule D Requirements |  |  |  |
| --- | --- | --- | --- |
| No. of Persons in Camp | No. of Privy Seats | No. of Showers | No. of Wash Basins |
| 1-7 | 1 | 1 | 1 |
| 8-15 | 2 | 1 | 3 |
| 16-30 | 3 | 2 | 6 |
| 31-45 | 4 | 3 | 9 |
| 46-60 | 5 | 4 | 12 |
| 61-75 | 6 | 5 | 15 |
| 76-100 | 7 | 6 | 20 |
| For each additional group of 6 persons in addition to 100, add 1 wash basin For each additional group of 20 persons in addition to 100, add 1 privy and shower |  |  |  |

distribution:	Original to Contract File	Yellow Copies to Contractor