
February 15, 2013-02-15

Hi Greg and Roy, 
 
I have included a shuttle required for downloading the data from the weather-station that was installed on the AMAT sites in the spring of 2012. The current batteries in the microstations should be good until the fall  of 2013 if not longer so there is no need to change batteries until then. We have used lithium batteries in the Hobo Microstations as they can take cold temperatures.  I will send 4 with the Hobo shuttles as well as some packages of desiccant to replace the existing one. They can be dried down and reused another year. 
 
The software required to look at the data and download the data file from the microstation to a computer is found at: 
 
http://www.onsetcomp.com/products/software
 
If you download the ‘Free Trial Version’ you can use our product key code: 2456-2853-0892-5472
I hope you don’t have ‘managed’ computers like we do here as we cannot download any software without permission. 
 
The software will be active for a few months without the product key but then most users have found they require the key code. We have taken a laptop with the software loaded on it into the field with us in the past so we can download the data onto the shuttle  and then from the shuttle to the computer in the field and check the data on the spot to look for any obvious errors. If you have any problems re-launching the datalogger with the shuttle the laptop computer allows you to fix any ‘glitches’ you may have in re-launching. We use a push button start for the microstations so once you have downloaded the data onto the shuttle the ‘Button Start’ light should be blinking and then be sure to push the small white Start button in the bottom left corner of the data logger. 
The ‘OK’ button should be blinking when you have competed the battery replacement and re-launched. All this information is in the instruction sheets in the boxes with the shuttle.  
 
Please call me if you have any questions. 
Thanks again for all your help!
Vicky Berger

